UNIFIED PUBLIC ADVOCACY

Empowering Policyholders, One Claim At A Time

Tel: 1-855-944-3473   Email: CLAIM@UPACLAIM.ORG   Website: https://www.upaclaim.org/

## STRUCTURAL INSPECTION CHECKLIST

## Safety Assessment (Initial)

- Area secured and safe to enter

- Structural integrity stable; no risk of collapse

- Power shut off if electrical hazards present

- No exposed live wiring in damage zone

- No gas line impact or leakage present

- Emergency repairs needed (describe)

## Exterior Structural Inspection

Roof Structure

- Shingle loss, punctures, or perforations

- Crushed or dented roofing panels

- Damaged trusses, rafters, beams

- Holes caused by impact (measure openings)

- Broken or displaced roof tiles

- Gutter and fascia damage

- Impact debris still present

## Notes:

Chimney/Vent Structures

- Cracked or dislodged bricks

- Metal flues bent/dented

- Cap broken or missing

- Signs of impact strike on chimney face

## Notes:

Exterior Walls & Siding

- Visible dents or impact points

- Cracks in brick/masonry

- Holes or punctures in siding

- Bulging or splitting wall surfaces

- Evidence of object trajectory (scratch patterns, scuffs)

## Notes:

Windows & Doors in Impact Zone

- Broken/missing glass

- Cracked frames

- Warping or misalignment

- Screen damage

## Notes:

Structural Supports

- Damage to exterior load-bearing walls

- Impact to porch columns or beams

- Eaves or overhangs displaced

## Notes:

## Interior Structural Inspection

Ceiling

- Cracks directly beneath impact zone

- Water staining (if roof penetrated)

- Sagging ceiling boards

- Holes or indentation from falling object

- Insulation exposed

## Notes:

Walls

- Vertical/horizontal cracks spreading from impact area

- Drywall punctures

- Plaster displacement

- Moisture intrusion if weather entered

## Notes:

Floors

- Damage from falling debris entering structure

- Cracks in floor tiles

- Scratches or dents in hardwood/vinyl

- Carpet damage

## Notes:

Attic Space

- Broken rafters or supports

- Evidence of impact force transfer

- Insulation disruption or contamination

- Roofing deck penetration visible

## Notes:

Mechanical, Electrical & Plumbing (MEP) Systems Check

Electrical

- Damaged wiring near impact

- Broken junction boxes

- Water intrusion near electrical elements

## Notes:

Plumbing

- Pipe displacement

- Leaks near ceilings or walls

- Damage from falling debris

## Notes:

HVAC

- Exterior condenser struck

- Vents or ducting damaged

- Attic ductwork crushed or detached

## Notes: